### Model CNFE2DOE2  Data Over Ethernet Terminal Server

ENGINEERING SPECIFICATION

# PART 1 - GENERAL

1.01 SUMMARY

- Data Over Ethernet Terminal Server

- 1.02 SECTION INCLUDES

- CNFE2DOE2  Data-over-Ethernet Terminal Server  – Standalone “mid-size package”

1.03 REFERENCES

- Underwriters Laboratory (UL)

- Underwriters Laboratory Canada (ULC)

- European Union Compliance (CE)

1.04 SYSTEM DESCRIPTION

- Performance Requirements: Provides 10/100 Mbps Ethernet Data Transmission

- The terminal server shall utilize user-selected SFP optics capable of data transmission on  multi-mode or single mode optical fiber,  and/or through a RJ-45 copper port

- 1.05 SUBMITTALS

- Product Data: Manufacturer’s printed product data sheet for each type of terminal server specified.

- Detail Drawings: Electrical and optical connect drawings. Product mounting template.

- Manufacturer’s Installation and Operating Manual: Printed installation and operating information for each type of terminal server specified.

- Warranty: Manufacturer’s Printed Lifetime Warranty

1.06 DELIVERY, STORAGE AND HANDLING

- Deliver materials in unopened factory packaging with Manufacturer’s bar coding to the job site.

- Inspect product upon delivery to ensure that specified products have been received.

- Store in original packaging in a climate controlled environment. Storage temperature not to exceed -40˚ C to +85˚ C

1.07 PROJECT/SITE CONDITIONS

- Tested and certified by an independent laboratory for full compliance with the environmental requirements (operating temperature, mechanical shock, vibration, humidity with condensation, high-line/low-line voltage conditions and transient voltage protection) of NEMA TS-1/TS-2 and the Caltrans Specification for Traffic Signal Control Equipment.

- Temperature Requirements: The terminal server shall operate in an environment with an ambient temperature range of –40˚ C to +75˚ C without the assistance of fan-forced air cooling.

- Humidity Requirements: The terminal server shall operate in an environment with relative humidity of 0% to 95%, non-condensing. If the device is installed in humidity with condensation conditions, the terminal server shall have optional conformal coating applied to the printed circuit board.

1.08 WARRANTY

- Standard Communication Networks Comprehensive Lifetime Warranty: ComNet warrants the terminal server to be free of factory defects under manufacturer’s Lifetime Warranty as submitted under article 1.05 (E)

# PART 2 - PRODUCTS

2.01 MANUFACTURER

- Acceptable Manufacturer: Communication Networks LLC.; 3 Corporate Drive, Danbury, CT 06810  USA; Telephone: 203-796-5300; Fax 203-796-5300; Email: sales@comnet.net; Internet: www.comnet.net

- Substitutions: Not Permitted

- All terminal servers shall be supplied from a single manufacturer.

2.02 MANUFACTURED UNITS

- Model Number Descriptions: Reference Table A: Product Number Descriptions

- Model Compatibility Chart: Reference Table B: Product Compatibility Chart

  - GENERAL SPECIFICATIONS

- The 10/100 Mbps Data-over-Ethernet Terminal Server/Ethernet Data Transceiver system shall be a ComNet model CNFE2DOE2 module.  The terminal server shall use 10/100 Ethernet encoding and decoding.  The terminal server shall have two serial input/output ports and shall be compatible with RS-232, RS-422, and 2 and 4-wire RS-485 protocols.  The terminal server shall be transparent to the data protocols used by various manufacturers, providing for universal compatibility should future system expansion or changes be required.  The terminal server shall utilize two Ethernet ports, one accepting an SFP, and the other an RJ-45 port.  The two serial data ports may be configured by the user for communicating from one port to the other through either the user’s network or via a PC. The terminal server may be used as a protocol converter (serial data to Ethernet) or as a media converter, for converting copper transmission to fiber. Serial data appearing on either of the two serial ports is converted to Ethernet and transmitted to both the SFP port and the RJ-45 port, permitting the device to operate as a media converter and terminal server. Configuration is done through the device’s internal web browser.  By selecting the appropriate SFP type, transmission can be achieved on one or two fibers and/or copper, depending on the optical loss budget/transmission distance requirements.  A software utility allows the user to locate other CNFE2DOE2 units on the same subnet, and to create virtual communications ports for each serial port on the device. The terminal server shall include Com0Com shareware, thereby allowing the user to create a virtual serial port on their PC, and to connect the PC to a TCP/IP connection using the com2tcp utility. The use of these utilities enables communication through an Ethernet network to the CNFE2DOE2, and provides control of the remote hardware as if it were connected directly to the PC COM port. The terminal server shall require no in-field electrical or optical adjustments or in-line optical attenuators to simplify the installation, and  shall provide power, Ethernet, and Serial Data  status indicating LED’s for monitoring proper system operation. The terminal server shall provide automatic re-settable solid-state current limiters and independent voltage regulators on each module to reduce the chance of a single point of failure. The terminal server shall have an MTBF of >100,000 hours, and operate in an environment of –40˚ C to +75˚ C, with relative humidity of 0% to 95%, non-condensing. The terminal server shall be UL and ULC listed and CE marked. The circuit board shall be UL 94 flame-rated, and meet all PCI standards.  All PC boards shall be designated with the part number, PC board number, and show the appropriate revision number. The housing shall be of all metal construction. All LED indicators and electrical and mechanical connectors shall be identified with silk-screened labeling. The terminal server shall be provided with a lifetime warranty to reduce the system life cycle cost to the user, in an event of a failure of the device.

2.04 SPECIFICATIONS

- Data Interface: uART, RS-232, RS-422, & 2 and 4-wire RS-485. RS-232 hardwire handshaking/data flow control shall be provided.

- Data Rate: 2400, 9600, 19,200, 38,400, 57,600, or 115,200 Kbps

- Ethernet: 10/100 and 100FX

- Management: HTTP, Auto Discovery Tool

- Network Protocols Supported: TCP/IP, UDP, DHCP, ARP, UPNP, Telnet RFC2217

- Operating Systems Supported:  Windows XP, Server 2003, 2008,Vista and Windows 7

2.05 STATUS INDICATORS

- Power: On/Red – Off/Off

- Data Transmit:  Transmit Data/Green – No Data Transmit/Off

- Data Receive:  Receive Data/Yellow – No Data Received/Off

- Ethernet Link/ACT

2.06 CONNECTORS

- SFP: SC optical, LC optical, and RJ-45

- Power: Terminal Block with Screw Clamps

- Data:  RJ-45

2.07 ELECTRICAL SPECIFICATIONS

- Operating Power: +9 to +24VDC

- Current Protection: Automatic re-settable solid-state current limiters

- Voltage Regulation: Solid-state, independent on each circuit board

- Circuit Board: UL 94 flame-rated and meets all PCI standards.

2.08 MECHANICAL SPECIFICATIONS

- Surface Mount Dimensions: 4.08” x 3.74” x 1.1” (10.36 cm x 9.5 cm x 2.8cm)

- Finish: The terminal server housing shall be constructed of an aluminum enclosure with a powder coat finish, with all connections and indicators silk-screened directly on the housing.

- Weight: <1.0 lbs./0.45kg

2.09 ENVIRONMENTAL SPECIFICATIONS

- MTBF: >100,000 Hours

- Operating Temp: –40˚ C to +75˚ C

- Storage Temp: -40˚ C to +85˚ C

- Relative Humidity: 0% to 95%, non-condensing. If the product is installed under humidity with condensation conditions, the terminal server shall have optional conformal coating applied to the printed circuit board. (Add suffix –C to the model number for conformally-coated printed circuit board)

2.10 REGULATORY AGENCIES/APPROVALS AND LISTINGS

- Underwriters Laboratory (UL) Listing Number: I.T.E. 6D16

- Underwriters Laboratory Canada (ULC) Listing Number: I.T.E. 6D16

- UL 94-flame rated PCB board: 94VO

  - ACCESSORIES

- RJ-45 Terminal block cable

- Conformal Coating

- DIN-Rail mounting adapter plate kit

PART 3 - EXECUTION

3.01 EXAMINATION

- Inspect product before installation.

- Product shall be free of any cosmetic defects or damage.

- All optical connectors shall be protected with dust caps and these shall remain on the module until installing the optical fiber connectors to the terminal server.

- Shipping box shall include the terminal server, power supply, and installation/operation manual.

3.02 PREPARATION

- Stand-alone Terminal Server (Surface Mount)

- Shall be mounted on a properly prepared surface adequate for the size and weight of device. The placement of the unit shall allow provision for cable installation and maintenance as indicated on the approved detail drawings and in compliance with the ComNet installation manual.

- Optical Fibers

- Caution: NEVER look into the end of an active optical fiber when using laser light output. Eye damage can occur. Wear eye protection when cleaving, terminating, and splicing fiber.

- The number and type (multimode or single-mode) of optical fiber shall meet the requirements of the ComNet SFP module selected for use with this terminal server unit.

- All optical fiber cables shall be properly installed and terminated with the mating optical connectors as submitted in article 2.06 (A).

3.03 INSTALLATION

- General: Locate the terminal server module as indicated on the approved detail drawings and install the module in compliance with the ComNet installation/operation manual.

3.04 TESTING

- Testing the Terminal Server Unit:.

- Verify that the electrical data connections and optical fibers are properly connected.

- Ensure that power is applied to all terminal servers, controllers, and receiver drivers or any other equipment used in the network.

- Successful data link operation should be confirmed at this point by using the terminal server to communicate with other equipment connected to the user’s network.

3.05 CLEANING

- Follow all instructions for the proper use of solvents and adhesives used for termination and splicing of optical fiber.

At completion of the installation, properly dispose of all fiber scraps and waste.

## END OF SECTION