DIVISION 27 21 29

CWFE8MS/DIN – EIGHT PORT FIBER OPTIC FAST 10/100 ETHERNET MANAGED SWITCH

ENGINEERING SPECIFICATIONS

# PART 1 - GENERAL

1.01 SUMMARY

- Eight Port Fast 10/100 Ethernet Managed Switch

1.02 SECTION INCLUDES

- CWFE8MS/DIN Series Ethernet Managed Switch

1.03 REFERENCES

- Underwriters Laboratory (UL)

- Underwriters Laboratory Canada (ULC)

- European Union Compliance (CE)

1.04 SYSTEM DESCRIPTION

- Performance Requirements: Provide 8 (eight) 10/100TX RJ-45 ports.

1.05 SUBMITTALS

- Manufacturer’s Installation and Operating Manual: Printed installation and operating information for each type of device specified.

1.06 DELIVERY, STORAGE AND HANDLING

- Store in original packaging in a climate controlled environment. Storage Temperature not to exceed -40˚ C to +85˚ C

1.07 PROJECT/SITE CONDITIONS

- Temperature Requirements: Products shall operate in an environment with an ambient temperature range of –10˚ C to +70˚ C without the assistance of fan-forced cooling.

- Humidity Requirements: Products shall operate in an environment with relative humidity of 0% to 95% (non-condensing). If product is installed in condensation conditions, add –C to the part number.

1.08 WARRANTY

- Standard Communication Networks Comprehensive 5 year Warranty: ComNet warrants the product to be free of factory defects under manufacture’s Lifetime Warranty as submitted under article 1.05 (A).

# PART 2 - PRODUCTS

2.01 MANUFACTURER

- Acceptable Manufacturer: Communication Networks; 3 Corporate Drive; Danbury CT 06810 USA; Telephone: 203-796-5300; Fax 203-796-5303; Email: sales@ComNet.net; Internet: www.ComNet.net

- Substitutions: Not Permitted

- All  Ethernet managed switches shall be supplied from a single manufacturer.

2.02 MANUFACTURED UNITS

- Model Number Descriptions: Reference Table A: Product Number Descriptions

- Model Compatibility Chart: Reference Table B: Product Compatibility Chart

  - GENERAL SPECIFICATIONS

- The Ethernet managed switch system shall be a ComNet CWFE8MS/DIN.  The module shall support transmission utilizing Category 5 cable or better. The module shall support the Ethernet data IEEE 802.3 protocol using Auto-negotiating and Auto-MDI/MDI-X features.  The module shall feature 8 (eight) 10/100TX RJ-45 ports.  The module shall require no in-field electrical or optical adjustments or in-line attenuators to ease installation.  The module shall provide power, link speed, and fiber port status indicating LED’s for monitoring proper system operation.  The modules shall provide automatic re-settable solid-state current limiters on each module to reduce the chance of a single point failure of the system.  The module shall have redundant power supply connections to minimize single point failure.  The module shall provide a serial connection for local management of the device.  The module shall have a lifetime warranty to reduce system life cycle cost in an event of a module failure.

- The following IEEE Networking Standards shall be supported:

IEEE 802.3 10Base-T Ethernet

IEEE 802.3u 100Base-TX Fast Ethernet

IEEE802.3x Flow Control and Back

Pressure

IEEE802.1d Spanning Tree/ IEEE802.1w

Rapid Spanning Tree

IEEE802.1p Class of Service

IEEE802.1Q VLAN Tag

- Switching Performance

Switch Technology: Store and Forward Technology with 1.6Gbps Switch Fabric.

System Throughput: 14,880pps for 10M Ethernet; 148,800pps for 100M Fast Ethernet;

MAC Address: 2K MAC

Packet Buffer: 1Mbits

Relay Alarm: Dry Relay output with 1A@24V ability

- MANAGEMENT

SNMP v1 v2c, Web interface management

SNMP MIB RFC 1213 MIBII, RFC 1493 Bridge MIB, RMON

RFC 1757, RFC 2674 VLAN MIB, RFC 1643

Ethernet like MIB, RFC1215 Trap MIB, IGMP MIB

Private MIB for switch information, X-Ring,

Port alarm, TFTP firmware upgrade, reset, port

mirror, IP security

VLAN Support Port based VLAN and IEEE802.1Q Tag VLAN Both of port based and Tag based VLAN group up to 64 VLANs

Spanning Tree Support IEEE802.1d Spanning Tree and

IEEE802.1w Rapid Spanning Tree

X-Ring Support X-Ring, Dual Homing, and Couple Ring Provide redundant backup feature and the recovery time below 300ms

Quality of Service The quality of service determined by port, Tag and IPv4 Type of service

Class of Service Support IEEE802.1p class of service, per port provides 4 priority queues

Port Mirror Support TX packet only or both TX and RX packet

IGMP Support IGMP v1 and Query mode. Up to 256 groups

IP Security Support 10 IP addresses that have permission to access the switch management

2.04 DATA SPECIFICATIONS

- Data Interface: Ethernet IEEE802.3

- Data Rate: up to 100 Mbps

- Data Inputs/Outputs: up to 8

- Operation Mode: Half or Full Duplex

2.05 OPTICAL SPECIFICATIONS

- N/A

2.06 STATUS INDICATORS

- Per port: Link/Activity (Green)

- Full duplex/Collision (Yellow)

- Per unit: Power (Green)

- Power 1(Green)

- Power 2 (Green)

- Fault (Yellow),

- Master (Green)

2.07 CONNECTORS

- Power:  Screw Clamp Terminal Strip.

- Data: RJ-45

- Console: RJ-45 serial communication.

2.08 ELECTRICAL SPECIFICATIONS

- Power:

DC 12~48V, Redundant power with

polarity reverse protect function and

connective removable terminal block

for master and slave power

- Current Protection: Automatic re-settable solid-state current limiters

- Voltage Regulation: Solid-state, Independent on each board

- Circuit Board: UL 94 flame rated and meets all IPC standards.

2.09 MECHANICAL SPECIFICATIONS

- Surface Mount Dimensions: 4.2” x 2.16” x 5.4” (105 mm x 54 mm x 135 mm)

- Finish: Module shall be constructed of a metal enclosure with a powder coat.

- Weight: <2 lb/1kg

2.10 ENVIRONMENTAL SPECIFICATIONS

- MTBF: >100,000 Hours

- Operating Temp: –10˚ C to +70˚ C

- Storage Temp: -40˚ C to +85˚ C

- Relative Humidity: 0% to 95% (non-condensing).

2.11 REGULATORY AGENCIES/APPROVALS AND LISTINGS

- Underwriters Laboratory (UL) Listing Number: I.T.E. 6D16

- Underwriters Laboratory Canada (ULC) Listing Number: I.T.E. 6D16

- UL 94-flame rated PCB board: 94VO

2.12 ACCESSORIES

- Wall mount bracket automatically included

- DIN Rail back mount automatically included

PART 3 - EXECUTION

3.01 EXAMINATION

- All optical connectors shall be covered with dust caps and remain on the module until installing cable connectors to module.

3.02 PREPARATION

- DIN Rail Mount Module

- Shall be mounted on a properly installed DIN Rail adequate for the size and weight of the module. The placement of the unit shall allow provision for cable installation and maintenance as indicated on the approved detail drawings and in compliance with the ComNet mounting template and installation manual.

- Wall mount (Surface Mount) Module

- Shall be mounted on a properly prepared surface adequate for the size and weight of module. The placement of the unit shall allow provision for cable installation and maintenance as indicated on the approved detail drawings and in compliance with the ComNet mounting template and installation manual.

- Optical Fibers

N/A

3.03 INSTALLATION

- General: Locate modules as indicated on the approved detail drawings and install module in compliance with the ComNet installation and operations manual.

3.04 TESTING

- Testing the Ethernet Link.

- Verify that the data leads and optical fibers are properly connected.

- Make sure that power is applied to all modules, controllers, and receiver drivers or other equipment used in the system.

- Successful data link operation should be confirmed at this point by communicating with other equipment.

3.05 CLEANING

- Follow all instructions for proper use of solvents and adhesives used for termination and splicing.

- At completion of the installation, dispose of all fiber scraps properly.

# MANUFACTURED UNITS REFERENCE TABLES

Table A: Product Number Descriptions

| CWFE8MS/DIN PORTS† | DESCRIPTION | MAX. DISTANCE* |
| --- | --- | --- |
| CWFE8MS/DIN ports 1 through 8 | Electrical 10/100TX | 320 ft (100 m) |

Table B: Product Compatibility Chart

| CWFE8MS/DIN PORTS | COMPATIBLE DEVICES |
| --- | --- |
| CWFE8MS/DIN ports 1 through 8 | CWFE8MS/DIN, ports 1 through 8 CNFE10MS, ports 1 through7, ports 8 through 10 non-SFP CNFE2MC, CNFE2MC-M CNFE22MC CNFE1002M1A, CNFE1002M1B, CNFE1002M1A-M, CNFE1002M1B-M CNFE1002S1A, CNFE1002S1B, CNFE1002S1A-M, CNFE1002S1B-M CNFE1003M2, CNFE1003M2-m CNFE1003S2, CNFE1003S2-m And device that meets IEEE 802.3 10/100 TX protocols |

## END OF SECTION