DIVISION 27 21 29

CNGE12FX4TX8MSPOE/TS2 –TWELVE PORT FIBER OPTIC GIGABIT ETHERNET MANAGED SWITCH

ENGINEERING SPECIFICATIONS

# PART 1 - GENERAL

1.01 SUMMARY

- Twelve Port Gigabit Ethernet Managed Switch with optional PoE, for use in NEMA TS2 traffic detector rack

1.02 SECTION INCLUDES

- CNGE12FX4TX8MSPOE/TS2 Series Ethernet Managed Switch

1.03 REFERENCES

- Underwriters Laboratory (UL)

- Underwriters Laboratory Canada (ULC)

- European Union Compliance (CE)

- NEMA TS2-1998

- CALTRANS

1.04 SYSTEM DESCRIPTION

- Performance Requirements: Provide 8 (eight) 10/100/1000TX RJ-45 PoE(optional) ports and 4 (four) 100/1000Mbps SFP ports.

- The system shall have SFP ports allowing for the use of SFP modules for flexibility in determining operating wavelength, range, number of fibers, type of receptacle, and type of fiber.

1.05 SUBMITTALS

- Manufacturer’s Installation and Operating Manual: Printed installation and operating information for each type of device specified.

1.06 DELIVERY, STORAGE AND HANDLING

- Store in original packaging in a climate controlled environment. Storage Temperature not to exceed -40˚ C to +85˚ C

1.07 PROJECT/SITE CONDITIONS

- Temperature Requirements: Products shall operate in an environment with an ambient temperature range of –40˚ C to +75˚ C without the assistance of fan-forced cooling.

- Humidity Requirements: Products shall operate in an environment with relative humidity of 5% to 97% (non-condensing). If product is installed in condensation conditions, add –C to the part number.

1.08 WARRANTY

- Standard Communication Networks Comprehensive Lifetime Warranty: Comnet warrants the product to be free of factory defects under manufacture’s Lifetime Warranty as submitted under article 1.05 (A).

# PART 2 - PRODUCTS

2.01 MANUFACTURER

- Acceptable Manufacturer: Communication Networks; 3 Corporate Drive; Danbury CT 06810 USA; Telephone: 203-796-5300; Fax 203-796-5303; Email: sales@comnet.net; Internet: www.comnet.net

- Substitutions: Not Permitted

- All fiber optic Ethernet managed switches and SFP modules shall be supplied from a single manufacturer.

2.02 MANUFACTURED UNITS

- Model Number Descriptions: Reference Table A: Product Number Descriptions

- Model Compatibility Chart: Reference Table B: Product Compatibility Chart

  - GENERAL SPECIFICATIONS

- The Ethernet managed switch system shall be a Comnet CNGE12FX4TX8MSPOE/TS2.  The module shall support transmission utilizing Category 5 cable or better, multimode, or single-mode fiber.  The module shall support the Ethernet data IEEE 802.3 protocol using Auto-negotiating and Auto-MDI/MDI-X features.  The module shall feature 8 (eight) 10/100/1000TX RJ-45 PoE ports, and 4 (four) 100/1000Mbps  SFP ports. The module shall require no in-field electrical or optical adjustments or in-line attenuators to ease installation.  The module shall provide power, link speed, and fiber port status indicating LED’s for monitoring proper system operation.  The modules shall provide automatic re-settable solid-state current limiters on each module to reduce the chance of a single point failure of the system.  The module shall have two power supply connections to allow power and ground from the backplane of the detector rack or from an external power supply.  The module shall provide a serial connection for local management of the device.  The module shall have a lifetime warranty to reduce system life cycle cost in an event of a module failure.

- The following IEEE Networking Standards shall be supported:

IEEE 802.3i 10Base-T Ethernet

IEEE 802.3u 100Base-TX Fast Ethernet

IEEE 802.3b 1000Base-TX

IEEE 802.3z Gigabit Ethernet Fiber

IEEE 802.3x Flow Control and Back-pressure

IEEE 802.1p class of service

IEEE 802.1Q VLAN and GVRP

IEEE 802.1w Rapid Spanning Tree Protocol (RSTP)

IEEE 802.1s Multiple Spanning Tree Protocol (MSTP)

IEEE802.3ad LACP

IEEE802.1x Port-based Network Access Control

IEE802.3at, up to 240 watts of PoE or PoE+ power

IEEE 802.1AB LLDP (Link Layer Discovery Protocol)

IEEE 802.1AE-2013

IEEE 802.1AEbn

IEEE 802.1AEbw

RFC1887 – IPv6 Architecture

RFC2460 – IPv6 Protocol Specification

RFC2464 – SSH FTP

RFC4250 – SSH PAN

SFTPv4

SFTv6 (future release)

RFC4253 – SSH Transport

- Switching Performance

Switch Technology: Store and Forward Technology with 24Gbps Switching Fabric, non-blocking wire speed on all ports, 99.999% error free data integrity.

MAC Address: 8K MAC

Max. VLANs Available: 256

IGMP Multicast Groups: 128 for each VLAN

Packet Buffer: 16 Mb

Priority Queues: 8

Security Queues: 16 per VLAN

Jumbo Frames: up to 9.6K bytes

Relay Alarm: Dry Relay output with 1A@24V ability

- MANAGEMENT

Dos/DDoS Auto Prevent on: Port & Flow Security

IEEE 1588v2 Clock Synchronization

IEEE 802.1D Bridge, Auto MAC Address Learning / Aging and MAC address (Stat c)

Multiple Registration Protocol (MRP)

RSTP / MSTP (IEEE 802.1w/s)

Per Port Power Saving Feature

Redundant Ring with a recovery time of <20 ms over 300 switches

TOS/DiffServ Supported

QoS IEEE 802.1p for real time traffic

VLAN IEEE 802.1Q with VLAN Tagging

Voice VLAN

Guest VLAN

IGMP v2 / v3 Snooping

IP-Based Bandwidth Management

Application Based QoS Management

Port Configuration, Status Statistics, Monitoring & Security

DHCP Server / Client / Snooping

DHCP Relay

ModBUS TCP

DNS Client Proxy

ARP Inspection

SMTP Client

IP Policing / Protocol 41 (IPv6 & IPv6 Secure)

Media Redundancy Protocol Ultra-Fast Ring

Broadcast Storm Control

SSH / FTP / AES / SHA2 Encryption

- SECURITY

Device Binding Security Features with Silicon Enhancements

Enable/Disable Ports, MAC Based Port Security

Port Based Network Access Control (802.1x)

Single 802.1x and Multiple 802.1x

MAC Based Authentication

IP Address Based Authentication

QoS Assignment

Flow-check

Guest VLAN

MAC Address Limit

TACACS+

Keep-Alive Check

VLAN (802.1Q) Segregate and Secure Network Traffic

Radius Centralized Password Management

SNMPv3 Encrypted Authentication and Access Security

WEB and CLI Authentication and Authorization

Security (Access) Authorization (15 Levels)

IP Source Guard

HTTPS / SSH Enhanced Network Security

SSH FTP / Advanced Encryption

Selectable Backup Security Defaults

2.04 DATA SPECIFICATIONS

- Data Interface: Ethernet IEEE802.3

- Data Rate: up to 1000 Mbps

- Data Inputs/Outputs: up to 12

- Operation Mode: Half or Full Duplex

2.05 OPTICAL SPECIFICATIONS

- Comnet Model Number CNGE12FX4TX8MSPOE/TS2

- Number of Optical ports: up to 4 SFP-based

- Number of Fibers Required: 1 or 2, SFP-dependant

- Optical Wavelength: 1310 or 1550 nm, SFP-dependant

- Optical Power Budget: SFP-dependant

- Maximum Distance: up to 120 km (70 mi) single-mode, SFP-dependant

2.06 STATUS INDICATORS

- Power: Proper Power = Green

- RJ-45 Link/Data: Green,  No Link/No Data: Off

- SFP Link/Data: Green, No Link/No Data: Off

2.07 CONNECTORS

- Optical: LC or SC, SFP-dependant

- Power:  Screw Clamp Terminal Strip.

- Data: RJ-45

- Console: RJ-45 serial communication.

2.08 ELECTRICAL SPECIFICATIONS

- Input Power:

12 VDC rear input, 48 VDC front input

Operating Voltage Range:

Non-PoE 9 to 36 VDC

PoE 44 to 56 VDC

Power Consumption:

Non-PoE 10 W Max.

PoE 260 W Max (240 W PoE budget)

- Current Protection: Overload current protected

- Polarity Protection:  Reverse polarity protected

- Voltage Regulation: Solid-state, Independent on each board

- Circuit Board: UL 94 flame rated.

2.09 MECHANICAL SPECIFICATIONS

- Surface Mount Dimensions: 2.23” x 4.51” x 8.08” (5.67 cm x 11.45 cm x 20.53 cm)

- Finish: Module shall be constructed of a IP-30 aluminum enclosure with a powder coat. All parts and conductive surfaces are made of noncorrosive materials.

- Weight: <3.19 lb/1.45 kg

2.10 ENVIRONMENTAL SPECIFICATIONS

- MTBF: >100,000 Hours calculated using Bellcore/Telcordia SR-332 standard

- Operating Temp: –40˚ C to +75˚ C

- Storage Temp: -40˚ C to +85˚ C

- Relative Humidity: 5% to 97% (non-condensing).

2.11 REGULATORY AGENCIES/APPROVALS AND LISTINGS

- UL 94-flame rated PCB board: 94VO

- EMI FCC CFR47 Part 15

- CE CISPR EN55022 Class A

- ESD EN61000-4-2

- RS EN61000-4-3

- EFT EN61000-4-4

- Electrical Surge EN61000-4-5

- CS EN61000-4-6, EN61000-4-8

- Damped Oscillatory Wave IEC61000-4-12/18

- Damped Oscillatory IEC61000-4-10

- Common Mode Conduct IEC61000-4-16

- Mechanical Shock IEC60068-2-27

- Free Fall IEC60068-2-32

- Vibration IEC60068-2-6

- Safety EN60950-1

- NEMA TS1/TS2 Certified Device

- Industrial Standards IEC61000-6-2

- Substations IEC61850-3

- Electric Power Substations IEEE1613

- Railway Applications EN50121-4

- Multi-Cast Certified for High Definition Video

- Electro-Magnetic Pulse (EMP)

- Non-Nuclear Electro Magnetic Pulse (NNEMP)

2.12 ACCESSORIES

- Console cable included

PART 3 - EXECUTION

3.01 EXAMINATION

- All optical connectors shall be covered with dust caps and remain on the module until installing cable connectors to module.

3.02 PREPARATION

- NEMA TS2 Traffic Detector Rack Mounting

- Shall be fit into the input file of any standard NEMA TS2 traffic detector rack to receive power and ground from the backplane.

- Optionally, the accessory named “/D” shall allow the switch to be DIN rail mounted and powered by an external 12VDC power supply.

- Optical Fibers

- Caution: NEVER look into the end of an active optical fiber when using laser light output. Eye damage can occur. Wear eye protection when cleaving, terminating, and splicing fiber.

- The number and type of optical fiber shall meet the requirements of the Comnet model number in article 2.05 used in the installation.

- All optical fiber cables shall be properly installed and terminated with the mating optical connectors as submitted in article 2.07 (A).

- The optical link shall be tested with either a power meter, at a minimum, or OTDR to ensure the link budget (overall path loss) plus an added 3dB of optical safety margin does not exceed the optical power budget as submitted in article 2.05.

- All optical connectors on cable shall be cleaned in compliance to optical connector manufactures specifications and covered with dust caps until connection to the fiber optic module.

3.03 INSTALLATION

- General: Locate fiber optic modules as indicated on the approved detail drawings and install module in compliance with the Comnet installation and operations manual.

3.04 TESTING

- Testing the Fiber Optic Ethernet Link.

- Verify that the data leads and optical fibers are properly connected.

- Make sure that power is applied to all fiber optic modules, controllers, and receiver drivers or other equipment used in the system.

- Successful data link operation should be confirmed at this point by communicating with other equipment.

3.05 CLEANING

- Follow all instructions for proper use of solvents and adhesives used for termination and splicing.

- At completion of the installation, dispose of all fiber scraps properly.

# MANUFACTURED UNITS REFERENCE TABLES

Table A: Product Number Descriptions

| CNGE12FX4TX8MSPOE/TS2 PORTS† | DESCRIPTION | MAX. DISTANCE* |
| --- | --- | --- |
| CNGE12FX4TX8MS/TS2 ports 1 through 8 | Electrical 10/100/1000TX | 320 ft (100 m) |
| CNGE12FX4TX8MSPOE/TS2 ports 1 through 8 | Electrical 10/100/1000 TX with PoE | 320 ft (100 m) |
| CNGE12FX4TX8MS/TS2 and CNGE12FX4TX8MSPOE/TS2 ports 9 through 12, SFP optical | Optical 100/1000Base FX via SFP module using multimode or singlemode fiber | Optical, singlemode: SFP-dependant up to 70 mi (120 km)* |

* Maximum range will be limited by optical loss of the fiber, connectors, and splices.

Table B: Product Compatibility Chart

| CNGE12FX4TX8MSPOE/TS2 PORTS | COMPATIBLE DEVICES |
| --- | --- |
| CNGE12FX4TX8MSPOE/TS2 ports 1 through 8 | CNGE12FX4TX8MSPOE/TS2, ports 1 through 8 CNFE10MS, ports 1 through7, ports 8 through 10 non-SFP CNFE2MC, CNFE2MC-M CNFE22MC CNFE1002M1A, CNFE1002M1B, CNFE1002M1A-M, CNFE1002M1B-M CNFE1002S1A, CNFE1002S1B, CNFE1002S1A-M, CNFE1002S1B-M CNFE1003M2, CNFE1003M2-m CNFE1003S2, CNFE1003S2-m And device that meets IEEE 802.3 10/100/1000 TX protocols |
| CNGE12FX4TX8MS/TS2 ports 9 through 12 – SFP electrical | CNGE12FX4TX8MSPOE/TS2, ports 9 and 10 CNGE2MC, CNGE2MC-M Any devide that meets IEEE 802.3u 100/1000Base FX protocols |
| CNGE12FX4TX8MSPOE/TS2 ports 9 through 12 – SFP electrical | CNGE12FX4TX8MSPOE/TS2, ports 9 and 10 CNGE2MC, CNGE2MC-M Any devide that meets IEEE 802.3u 100/1000Base FX protocols |

## END OF SECTION